Table S1. Measurement results of malathion and fenitrothion in gravimetrically fortified strawberry powder samples by the ID-GC/MS/MS method with the DB-5MS column with PEG 200

| Analyte | Malathion |  |  |  | Fenitrothion |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Methods | Fortified value (µg/kg) | Measured value (µg/kg) | Ratio (%)b |  | Fortified value (µg/kg) | Measured value (µg/kg) | Ratio (%)b |
|  | 12.22 ± 0.002a | 11.24 ± 0.27 |  | 92 | 11.76 ± 0.002 | 11.47 ± 0.36 | 98 |
| QuEChERS | 12.35 ± 0.002 | 11.85 ± 0.19 |  | 96 | 11.88 ± 0.002 | 12.10 ± 0.42 | 102 |
|  | 12.42 ± 0.002 | 11.88 ± 0.17 |  | 96 | 11.95 ± 0.002 | 11.90 ± 0.39 | 100 |
|  | 12.49 ± 0.002 | 12.07 ± 0.22 |  | 97 | 12.02 ± 0.002 | 12.36 ± 0.39 | 103 |
|  | 22.56 ± 0.002 | 23.29 ± 0.36 |  | 103 | 22.57 ± 0.002 | 23.26 ± 0.54 | 103 |
|  | 22.86 ± 0.002 | 23.05 ± 0.86 |  | 101 | 22.88 ± 0.002 | 23.61 ± 0.50 | 103 |
|  | 21.75 ± 0.002 | 21.38 ± 0.24 |  | 98 | 21.76 ± 0.002 | 21.31 ± 0.42 | 98 |
|  | 21.75 ± 0.002 | 23.62 ± 0.49 |  | 101 | 23.35 ± 0.002 | 24.03 ± 0.49 | 103 |
|  | 90.64 ± 0.002 | 90.67 ± 1.37 |  | 100 | 87.20 ± 0.002 | 89.02 ± 2.58 | 102 |
|  | 90.33 ± 0.002 | 89.67 ± 1.22 |  | 99 | 86.91 ± 0.002 | 87.48 ± 2.39 | 101 |
|  | 91.54 ± 0.002 | 90.61 ± 1.87 |  | 99 | 88.07 ± 0.002 | 89.18 ± 2.51 | 101 |
|  | 90.25 ± 0.002 | 91.44 ± 1.66 |  | 101 | 86.83 ± 0.002 | 87.66 ± 3.47 | 101 |
|  | 238.0 ± 0.002 | 240.8 ± 2.2 |  | 99 | 237.9 ± 0.002 | 237.0 ± 1.6 | 100 |
|  | 238.0 ± 0.002 | 240.9 ± 2.5 |  | 99 | 237.8 ± 0.002 | 236.8 ± 4.6 | 100 |
|  | 238.2 ± 0.002 | 238.6 ± 2.1 |  | 100 | 238.1 ± 0.002 | 233.3 ± 4.0 | 98 |
|  | 234.5 ± 0.002 | 233.4 ± 2.0 |  | 100 | 234.4 ± 0.002 | 231.4 ± 1.6 | 98 |
| Carb/NH2 | 12.43 ± 0.002 | 11.93 ± 0.32 |  | 96 | 11.96 ± 0.002 | 12.48 ± 0.29 | 104 |
|  | 12.91 ± 0.002 | 12.25 ± 0.23 |  | 95 | 12.42 ± 0.002 | 12.34 ± 0.24 | 99 |
|  | 12.84 ± 0.002 | 12.23 ± 0.46 |  | 95 | 12.35 ± 0.002 | 12.18 ± 0.29 | 99 |
|  | 12.62 ± 0.002 | 11.83 ± 0.21 |  | 94 | 12.14 ± 0.002 | 12.09 ± 0.44 | 100 |
|  | 24.26 ± 0.002 | 23.57 ± 0.44 |  | 97 | 23.34 ± 0.002 | 23.01 ± 0.59 | 99 |
|  | 24.62 ± 0.002 | 24.16 ± 0.46 |  | 98 | 23.69 ± 0.002 | 23.49 ± 0.56 | 99 |
|  | 23.95 ± 0.002 | 23.53 ± 0.45 |  | 98 | 23.04 ± 0.002 | 23.03 ± 0.59 | 100 |
|  | 23.96 ± 0.002 | 24.11 ± 0.46 |  | 101 | 23.06 ± 0.002 | 23.22 ± 0.55 | 101 |
|  | 115.9 ± 0.002 | 116.6 ± 1.1 |  | 101 | 104.9 ± 0.002 | 103.8 ± 4.1 | 99 |
|  | 116.1 ± 0.002 | 117.0 ± 1.1 |  | 101 | 105.3 ± 0.002 | 101.9 ± 1.8 | 97 |
|  | 117.0 ± 0.002 | 117.0 ± 1.0 |  | 99 | 107.6 ± 0.002 | 103.7 ± 2.4 | 96 |
|  | 120.1 ± 0.002 | 118.4 ± 1.1 |  | 99 | 105.4 ± 0.002 | 101.9 ± 2.4 | 97 |
|  | 223.2 ± 0.002 | 209.2 ± 3.7 |  | 94 | 246.5 ± 0.002 | 248.4 ± 5.9 | 101 |
|  | 228.5 ± 0.002 | 222.0 ± 4.2 |  | 97 | 246.4 ± 0.002 | 246.0 ± 5.0 | 100 |
|  | 232.7 ± 0.002 | 225.0 ± 4.1 |  | 97 | 244.0 ± 0.002 | 242.8 ± 6.5 | 100 |
|  | 232.9 ± 0.002 | 221.8 ± 4.1 |  | 95 | 246.4 ± 0.002 | 246.2 ± 5.2 | 100 |

a The % values are the ratios of the measured values and the gravimetrically fortified values.

b The values after ‘±’ is the expanded uncertainties of the fortified values at a confidence level of 95 %. The uncertainties are mostly from weighing blank samples and the spiked calibration standard solutions.

c The values after ‘±’ is the expanded uncertainties of the fortified values at a confidence level of 95 %. The uncertainties are combined with measurement uncertainties of calibration standard solutions and samples.

Table S2. Measurement results of malathion and fenitrothion in gravimetrically fortified strawberry powder samples by the ID-GC/MS/MS method with the VF-1701MS column

| Analyte | Malathion |  |  | Fenitrothion |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Methods | Fortified value (µg/kg) | Measured value (µg/kg) | Ratio (%)b | Fortified value(µg/kg) | Measured value (µg/kg) | Ratio (%)b |
|  | 13.15 ± 0.002a | 13.34 ± 0.29 | 101 | 13.30 ± 0.002a | 13.30 ± 0.41 | 100 |
| QuEChERS | 13.39 ± 0.002 | 13.65 ± 0.25 | 102 | 13.37 ± 0.002 | 12.91 ± 0.34 | 97 |
|  | 13.62 ± 0.002 | 13.28 ± 0.25 | 98 | 13.16 ± 0.002 | 13.38 ± 0.57 | 102 |
|  | 13.54 ± 0.002 | 13.73 ± 0.28 | 101 | 13.23 ± 0.002 | 13.58 ± 0.31 | 103 |
|  | 25.05 ± 0.002 | 24.47 ± 0.33 | 98 | 24.47 ± 0.002 | 24.51 ± 0.46 | 99 |
|  | 25.10 ± 0.002 | 25.09 ± 0.26 | 100 | 24.82 ± 0.002 | 24.56 ± 0.45 | 98 |
|  | 24.63 ± 0.002 | 24.44 ± 0.28 | 99 | 24.19 ± 0.002 | 23.81 ± 0.39 | 98 |
|  | 25.19 ± 0.002 | 24.83 ± 0.27 | 99 | 24.41 ± 0.002 | 23.99 ± 0.49 | 98 |
|  | 104.0 ± 0.002 | 105.1 ± 4.3 | 101 | 97.8 ± 0.002 | 95.2 ± 2.6 | 101 |
|  | 103.4 ± 0.002 | 103.4 ± 3.0 | 100 | 99.9 ± 0.002 | 98.3 ± 2.6 | 99 |
|  | 104.8 ± 0.002 | 104.7 ± 3.1 | 100 | 100.2 ± 0.002 | 102.3 ± 3.6 | 98 |
|  | 102.2 ± 0.002 | 102.4 ± 2.8 | 100 | 99.7 ± 0.002 | 98.9 ± 3.5 | 101 |
|  | 244.1 ± 0.002 | 248.8 ± 2.9 | 102 | 251.6 ± 0.002 | 251.7 ± 3.2 | 100 |
|  | 234.5 ± 0.002 | 239.7 ± 2.9 | 102 | 247.4 ± 0.002 | 253.0 ± 3.4 | 102 |
|  | 249.6 ± 0.002 | 245.8 ± 3.0 | 98 | 252.9 ± 0.002 | 251.4 ± 3.2 | 99 |
|  | 250.3 ± 0.002 | 248.1 ± 3.5 | 99 | 251.2 ± 0.002 | 250.9 ± 3.3 | 100 |
|  | 13.83 ± 0.002 | 13.98 ± 0.37 | 101 | 14.43 ± 0.03 | 14.62± 0.31 | 101 |
| Carb/NH2 | 14.27 ± 0.002 | 14.03 ± 0.51 | 98 | 14.90 ± 0.03 | 14.82± 0.46 | 99 |
|  | 13.96 ± 0.002 | 14.24 ± 0.39 | 102 | 14.57 ± 0.03 | 14.87± 0.39 | 102 |
|  | 14.23 ± 0.002 | 14.12 ± 0.32 | 99 | 14.86 ± 0.03 | 14.71± 0.36 | 99 |
|  | 25.99 ± 0.002 | 26.32 ± 0.41 | 101 | 26.15 ± 0.02 | 25.7 0± 0.64 | 98 |
|  | 24.95 ± 0.002 | 25.37 ± 0.62 | 102 | 25.79± 0.02 | 25.65 ± 0.51 | 98 |
|  | 26.44 ± 0.002 | 26.35 ± 0.32 | 100 | 25.96± 0.02 | 25.48 ± 0.39 | 99 |
|  | 26.15 ± 0.002 | 26.23± 0.32 | 100 | 25.77± 0.02 | 25.33 ± 0.47 | 98 |
|  | 99.6 ± 0.002 | 98.3 ± 1.8 | 99 | 99.10 ± 0.002 | 97.09 ± 1.9 | 98 |
|  | 97.4 ± 0.002 | 97.6 ± 3.3 | 100 | 99.24 ± 0.002 | 96.83 ± 2.1 | 98 |
|  | 102.1 ± 0.002 | 98.5 ± 3.9 | 96 | 97.77 ± 0.002 | 96.50 ± 2.6 | 99 |
|  | 102.7 ± 0.002 | 104.7 ± 2.2 | 102 | 98.40 ± 0.002 | 96.93 ± 2.2 | 99 |
|  | 247.7 ± 0.002 | 250.1 ± 2.8 | 101 | 255.6 ± 0.002 | 251.8 ± 3.6 | 99 |
|  | 249.0 ± 0.002 | 251.0 ± 2.6 | 101 | 246.5 ± 0.002 | 244.4 ± 2.9 | 99 |
|  | 252.1 ± 0.002 | 254.5 ± 3.2 | 101 | 258.3 ± 0.002 | 257.2 ± 2.7 | 100 |
|  | 251.4 ± 0.002 | 249.4 ± 4.0 | 99 | 254.1 ± 0.002 | 255.8 ± 2.8 | 101 |

a The % values are the ratios of the measured values and the gravimetrically fortified values.

b The values after ‘±’ is the expanded uncertainties of the fortified values at a confidence level of 95 %. The uncertainties are mostly from weighing blank samples and the spiked calibration standard solutions.

c The values after ‘±’ is the expanded uncertainties of the fortified values at a confidence level of 95 %. The uncertainties are combined with measurement uncertainties of calibration standard solutions and samples.